18th December 2007

Generic Format for Sequence Data

- Version 1.3

- Background

- This document describes a machine and technology independent format for storing DNA sequence data and associated quality values. This document is preliminary and subject to change.

- Contacts

- Change history

- The following table shows the change history for this format.

| - Version | - Date | - Author | - Comments |
| --- | --- | --- | --- |
| 0.1 | 15 Oct 2006 |  | Original content. |
| 0.1.5 | 29th Oct 2006 |  |  |
| 0.2 | 13th Nov 2006 |  | Modified per comments received at Nov 2nd telecon. |
| 0.2.1 | 26th Nov 3006 |  | Modified per comments received by e-mail. Incorporated Read Header and ZTR format. |
| 0.3 | 11th Dec 2006 |  | Modified per comments received at Dec 7th telecom |
| 1.0 DRAFT | 9th Jan 2007 |  | Version 1.0 for approval |
| 1.0 DRAFT | 28th Jan 2007 |  | Version 1.0 revised for approval |
| 1.0 | 11th Feb 2007 |  | Approved version |
| 1.1.1 | 11th Jul 2007 |  | First draft of next version. Changes to container structure, indexing and read header |
| 1.1.2 | 29th Jul 2007 |  | Minor changes following comments received at the NCBI meeting. Changes made to readFlags in read header, XML block, data header block, and index block. Some additional cosmetic changes. |
| 1.2 | 6th August 2007 |  | Version 1.2 |
| 1.3 | 18th Dec 2007 |  | Changes to read id format and minor changes to index format |

- Table of contents

1. Overview	6

1.1 Scope and purpose	6

2. References	7

3. Terms, definitions, and notation	8

3.1 Conformance levels	8

3.2 Glossary of terms	8

4. Abbreviations and acronyms	9

5. Requirements	10

6. Format Specification	11

6.1 General	11

6.1.1 Strings	12

6.2 Container Header	12

6.3 XML Block	13

6.4 Data Block Header	13

6.5 Data Block	13

6.5.1 Read Header	14

6.5.2 ZTR Blob	14

6.5.3 Unique Read Id	14

6.5.4 Defining Read Pairs and Other Read Features	16

6.6 Index Block	17

6.6.1 Hash Function	18

List of figures

Figure 6.1—A single container	11

Figure 6.2—Multiple containers	12

List of tables

Table 5.1—Format Requirements	10

Table 6.1—Block format	12

Table 6.2—Container Header Format	12

Table 6.3—XML Block Format	13

Table 6.4—Data Block Header Format	13

Table 6.5—Read Header Format	14

Table 6.6— Read Identifier formatting characters	15

Table 6.6— Unique Read Identifier	15

Table 6.7—Index Block Format	17

- Overview

## Scope and purpose

Scope: This document describes a format for storing nucleic acid sequence information. The format is designed to be machine and technology independent.

Purpose: The format has been developed to provide a single, uniform format for DNA sequence data. The format has primarily been designed to support data archival, data exchange. Its secondary purpose is to support data submission to the NCBI Short Read Archive.

# References

- IUPAC Nucleotide Code - IUB (Nomenclature Committee, 1985, Eur. J. Biochem. 150; 1-5).

- Brent Ewing, LaDeana Hillier, Michael C. Wendl, and Phil Green. Base-calling of automated sequencer traces using PHRED. I. Accuracy assessment. 1998. Genome Research 8:175-185.

- Brent Ewing and Phil Green Base-calling of automated sequencer traces using PHRED. II. Error probabilities. 1998. Genome Research 8:186-194

- Extensible Markup Language (XML) 1.0 (Fourth Edition) W3C Recommendation 16 August 2006, Tim Bray, Jean Paoli, C. M. Sperberg-McQueen, Eve Maler, François Yergeau eds.

- ZTR: a new format for DNA sequence trace data . James K. Bonfield and Rodger Staden. Bioinformatics 18:3-10

# Terms, definitions, and notation

## Conformance levels

- Several keywords are used to differentiate between different levels of requirements and optionality, as follows:

    - expected: Describe the behavior of the hardware or software in the design models assumed by this specification. Other hardware and software design models may also be implemented.

    - may: Indicates a course of action permissible within the limits of the standard with no implied preference (“may” means “is permitted to”).

    - shall: Indicates mandatory requirements strictly to be followed in order to conform to the standard and from which no deviation is permitted (“shall” means “is required to”).

    - should: An indication that among several possibilities, one is recommended as particularly suitable, without mentioning or excluding others; or that a certain course of action is preferred but not necessarily required; or that (in the negative form) a certain course of action is deprecated but not prohibited (“should” means “is recommended to”).

## Glossary of terms

    - byte: Eight bits of data, used as a synonym for octet.

    - Base caller: A program used to identify the bases in a sequence read from the data generated by a sequencing machine.

    - Big endian: Indicates that the byte order for an integer stored in multiple bytes is most significant byte first.

    - Read: A sequence of nucleic acids. Usually refers to a sequence generated by a sequencing machine.

    - Flow traces: Sequence read information generated by certain types of sequencing machines (for example the Roche/454 FLX sequencer).

    - ZTR: A block based format originally developed to store ABI trace files [R-5].

# Abbreviations and acronyms

- This document contains the following abbreviations and acronyms:

- CH		Container Header

- DB		Data Block

- DBH	Data Block Header

- DNA	Deoxyribose Nucleic Acid

- IB		Index Block

- ID		identifier

- NCBI	National Centre for Biotechnology Information

- PHRED

- RH		Read Header

- URL	Uniform Resource Locator

- UTF-8	8-bit Universal Character Set/Unicode Transformation Format

- XML	eXtensible Markup Language

# Requirements

- The standard has been developed to fulfill the following requirements

Table 5.1—Format Requirements

| - Requirement Id | - Requirement | - Reference |
| --- | --- | --- |
| RQ-1 | The standard shall be open. |  |
| RQ-2 | The standard shall have a streamable format |  |
| RQ-3 | The standard should allow data to be stored in an efficient manner (i.e. consume the least amount of disk space). |  |
| RQ-3 | The standard shall support random access to the data file. |  |
| RQ-4 | The standard shall not require experimental information. |  |
| RQ-5 | The standard shall support individual reads and sets of multiple reads. |  |
| RQ-6 | The standard will support a unique identifier for each read. |  |
| RQ-7 | Multi-byte order shall be big endian. |  |
| RQ-8 | The standard shall support the storage of reads from different platforms in the same file. |  |
| RQ-9 | The standard shall not require image data (and their equivalent) to be stored. |  |

# Format Specification

## General

- A data file is comprised of one or more containers. Each container is comprised of several blocks.

- Container Header (CH) – The first block in a container is the Container Header. There is only one such block per container and it contains general information about the container.

- XML Block – The CH may be followed by an XML (R-4).

- Data Block Header (DBH) – The Data Block Header is followed by one or more Data Blocks. It contains information common to the Data Blocks that follow it.

- Data Block (DB) – The Data Blocks contain the actual sequence data and associated quality values.  Each Data Block contains information about a single read. Data Blocks utilize the ZTR format (R-5) and comprise a Read Header (RH) and a ZTR blob.

- The last block in a file is the optional index block.

- Index Block (IB) – The index block is an optional block that contains a hash-based index. The index enables a fast lookup of the location of every read in every container in the file. The format of the index block allows it to be stored in a separate file to the containers.

- The last 8 bytes in the file are used to store the size of the index block (in bytes). If the index block is not present, the size of the index is given as zero bytes.

- The following figure provides an example of a file containing a single container.

Figure 6.1—A single container

- A single file may contain several container structures. Each container is independent and thus containers can be added or removed from the file without disrupting the integrity of the file.

- The following figure provides an example of a file containing several containers.

Figure 6.2—Multiple containers

The index block may be stored in a separate file to the CH and DB blocks. The DBH blocks may be in the same file as the CH and DB blocks or in a separate file.

With the sole exception of the index block and container header, all blocks begin with a single character block type and a block size.

Table 6.2—Block format

| - Field | - Description | - Type | - Value |
| --- | --- | --- | --- |
| blockType | The type of block. | char[1] |  |
| blockSize | The size of the entire block (including the blockType and blockSize fields | unit 32 |  |
| Data | Block data |  |  |

### Strings

- Strings are specified either as fixed length (length indicated in square brackets) or as variable length (indicated by an asterix, ‘*’). For variable length strings, the first byte contains an unsigned int that indicates the number of characters in the string and hence the number of bytes that follow the unsigned int. If a string is optional and no value is to be stored, the length is specified as zero.

## Container Header

- The Container Header contains general information about the file. The header includes information about the basecaller used to create call bases of the read. A consequence of this aspect of the format is that a single container may only contain reads called by the same base caller and hence all the reads will (likely) be generated by a single technology. It is not anticipated that the same read will be repeated in multiple containers called by different base callers. Since a single file may contain multiple containers, this limitation on containers is not a great encumbrance to the format.

Table 6.3—Container Header Format

| - Field | - Description | - Type | - Value |
| --- | --- | --- | --- |
| blockType | The type of block. | char[4] | SSRF |
| blockSize | The size of the entire block (including the blockType and blockSize fields | unit 32 |  |
| version | The version of the standard. | char * | 1.3 |
| ContainerType | The type of blob stored in this container. The only supported value is ‘Z’ for ZTR. | char[1] | ‘Z’ |
| baseCaller | The name of the base caller used to call the read. | char * |  |
| baseCallerVersion | The version of the base caller | char * |  |

## XML Block

- The XML Block is optional. If present, it is block of UTF-8 characters in XML format (R-4).

Table 6.4—XML Block Format

| - Field | - Description | - Type | - Value |
| --- | --- | --- | --- |
| blockType | The type of block. | char[1] | ‘X’ |
| blockSize | The size of this block | uint 32 |  |
| XML | XML text. The XML record may be used to store additional user defined data. The record “NCBI_submission” is reserved and its form defined by NCBI. | * |  |

## Data Block Header

- The Data Block Header contains information common to the next series of Data Blocks.

Table 6.5—Data Block Header Format

| - Field | - Description | - Type | - Value |
| --- | --- | --- | --- |
| blockType | The type of block. | char[1] | H |
| blockSize | The size of this block. | uint 32 |  |
| subBlockType | Field reserved to allow different types of Data Block Headers in the future. The only type of data block available in the current format is an “E” block or explicit block. | char[1] | E |
| uniqueIdPrefix | All reads in the data block header have the same unique id prefix. The prefix is a variable length string and may be zero bytes. Refer to section 6.5.3 for more details. | char * |  |
| headerBlob | The header blob. The size of the header blob is deduced from the block size. | * |  |

## Data Block

- Each data blocks is comprised of a Read Header and followed by a ZTR blob.

### Read Header

Table 6.6—Read Header Format

| - Field | - Description | - Type | - Value |
| --- | --- | --- | --- |
| blockType | The type of block. | char[1] | R |
| blockSize | The size of the block | unit 32 |  |
| readFlags | Each bit may be set to indicate a status for the read. The bits are set to 1 if the flag is true. Bit 1: Is the read bad? Bit 2: Has the read been withdrawn? Bits 3-5: reserved Bits 6-8: user definable | 1 byte | \000 |
| readId | The readId is a variable length string. When combined with the uniqueIdPrefix, it yields the unique read id. | char * |  |
| dataBlob | The data blob. The size of this field is deduced from the blockSize. | * |  |

### ZTR Blob

- The ZTR Blob is comprised of several ZTR chunks. For details of the ZTR format refer to http://staden.sourceforge.net/manual/formats_unix_12.html. This format support ZTR version 1.3.

- MANUFACTURER PARAGRAPHS – VENDORS to provide details on how their data will be organized in ZTR.

### Unique Read Id

- Each read is assigned a unique read identifier. The unique read id may be globally unique or locally unique. Locally unique ids are unique within a single file, whereas globally unique ids are unique everywhere. The generator of the file is responsible for ensuring read id uniqueness.

- When creating the container, the unique read is split into two parts: the unique identifier prefix in the Data Block Header and the readId in the Read Header.

- The read id is optional, but its absence prevents the container from being indexed. Local read ids may be utilized to index a file that has no read ids.

The read name is constructed by using a common name prefix stored in the Data Block Header (uniqueIdPrefix) and a suffix stored per-trace in the Read Header (readId). Both of these are strings in the same format used elsewhere; the first byte indicating their length.

The simplest form of trace name is a direct concatenation of the two strings. This is used whenever the uniqueIdPrefix does not contain a '%' character.

To save space it is possible to encode the Read Header name component in binary and specify how this should be decoded by embedded percent expansion rules within the uniqueIdPrefix. The percent expansion rules take the following form:

%<field-width>.<bits-used><format>

"<field-width>" is the minimum number of characters used to format this piece of data. It is optional and defaults to 1. The characters used to pad out a format value that is too small will vary depending on the format used. See below for details.

".<bits-used>" indicates how many bits to use from the readId, starting from bit 7 (and decreasing from there) or the next free bit following a previous %format. It is optional and if not specified generally all bits are used unless indicated otherwise below.

"<format>" controls how the bits are formatted to generate the trace name. It must be one of the following:

Table 6.7— Read Identifier formatting characters

| - Formatting character | - Description |
| --- | --- |
| %d | Decimal number. When field-width is longer than the number it is padded out with preceding zeros ('0'). |
| %o | Octal number. The padding character is '0'. |
| %x | Hexadecimal lowercase; 0-9 and a-f. The padding character is '0'. |
| %X | Hexadecimal uppercase; 0-9 and A-F. The padding character is '0'. |
| %j | Base-36 encoding a-z and 0-9 in that order. The padding character is 'a'. |
| %J | Base-36 encoding A-Z and 0-9 in that order. The padding character is 'A'. |
| %c | ASCII character. A single character of <bits-used> bits or 8 if no <bits-used> is specified. The field-width value is ignored. |
| %s | A string - essentially repeated '%c' until all bits are consumed. The field-width value is ignored. Note that a single %s on the end of the uniqueIdPrefix is equivalent to the defaul concatenation rule when no percent-expansion is found. |
| % | A literal percent sign. No bits of readId are consumed. The field-width value is ignored. Note: a decoded read id may only contain the characters A-Za-z0-9 and underscore “_”. Hence this coding should not be used. |

Note that in the above if the number of bits is specified as more than 32 then it is treated a series of 32-bit blocks. This has no impact on octal and hexadecimal encodings, but may give unexpected results with other formats.

For example, to store a trace name of the format "run_lane_tile_x_y" with x and y being two values between 0-1023 inclusive we can observe that the coordinates need only 12-bits each, thus the pair of them fit in 24-bits, or 3 bytes (plus 1 for the string lenth). Our uniqueIdPrefix could then be (27) "run_lane_tile_%3.12X_%3.12X". If the X and Y coordinates are 999 and 196 then the readId would consist of hex 03 3e 70 c4 and together this would generate a string for the name as "run_lane_tile_3E7_0C4".

- The read id may contain format characters identified by % (similar to printf statements). When these format characters are present in the prefix, the readId in the RH is interpreted according to the formatting characters.

- The following formats for identifiers utilize the type “String”. When these identifiers are encoded into the DBH and DB, they are encoded as type char *.

- When decoded, the unique read identifiers adhere to the following form:

Table 6.8— Unique Read Identifier

| - Field | - Description | - Type | - Value |
| --- | --- | --- | --- |
| namespace | Namespace to avoid clashes. | string |  |
| read | Alphanumeric string. Underscores permitted. Allowed character set [A-Za-z0-9_] | string |  |

#### Preassigned namespaces

- Namespaces ‘T’, ‘X’ and ‘L’ are reserved for local read ids.

- Vendors are assigned name spaces as follows.

- VRO – 454/Roche

- VAB – ABI

- VHE - Helicos

- VIL – Illumina/Solexa

- Sequencing centres wishing to distribute global read ids may do so using their NCBI registered trace repository identifier, prefixed with an ‘N’.

### Defining Read Pairs and Other Read Features

A single “read” may be comprised of multiple reads, read pairs or other features (e.g. primers). This information is encoded in the ZTR chunks. The data block header ZTR blob contains a TEXT chunk named REGION_LIST that describes the components of the reads that follow. Hence, the same REGION_LIST applies to all reads that follow. The read header ZTR blob contains a REGN chunk that describes the boundaries between each component of the read. For more details refer to the ZTR specification.

## Index Block

- The Index Block provides a lookup hash for every read in the block. Once a DB for a read is identified, the corresponding DBH is the one that precedes the location of the DB in the container.

Table 6.9—Index Block Format

| - Field |  |  | - Description |  | - Type |  | - Value |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| blockType |  |  | The type of block. |  | char[4] |  | I |  |
| version |  |  | The version of the index. |  | char [4] |  | 1.00 |  |
| indexSize |  |  | The size of the index |  | uint 64 |  |  |  |
| IndexType |  |  | The type of index. This index supports explicit DBHs only. |  | char[1] |  | ‘E’ |  |
| dbhPositionsStoredSeparately |  |  | This byte indicates whether the read entry contains a field indicating the DBH associated with the read. This field is only required if the DBHs are stored in a separate file or if the reads are re-ordered to optimize bulk data reads. |  | char[1] |  | 0 or 1 |  |
| numberOfContainers |  |  | The number of containers in the file. |  | uint 32 |  |  |  |
| numberOfDBHs |  |  | The number of DBHs in the file. |  | uint 32 |  |  |  |
| numberOfHashBuckets |  |  | The number of hash buckets in the file. |  | uint 64 |  |  |  |
| dbhFile |  |  | If the DBHs are stored in a separate file, the field contains the name of this file. |  | char * |  |  |  |
| containerFile |  |  | If the container and reads are stored in a separate file, the field contains the name of this file. The dbhFile and containerFile can be the same file. |  | char * |  |  |  |
| List (n=numberOfContainers) |  |  |  |  |  |  |  |  |
|  | bytesToDBH |  | The number of bytes from the start of the file to the container |  | uint 64 |  |  |  |
| End of List |  |  |  |  |  |  |  |  |
| List (n=numberOfDBHs) |  |  |  |  |  |  |  |  |
|  | bytesToDBH |  | The number of bytes from the start of the file to a DBH |  | uint 64 |  |  |  |
| End of List |  |  |  |  |  |  |  |  |
| List (n=numberOfHashBuckets) |  |  |  |  |  |  |  |  |
|  | bucketOffset |  | Offset relative to the start of the index for the item linked list. |  | uint 64 |  |  |  |
| End of List |  |  |  |  |  |  |  |  |
| List (n=number of reads in the file) |  |  |  |  |  |  |  |  |
|  |  | entryByte |  | Bits 0-6: Name disambiguation hash. If bit 1 is set, these bits are set to zero, otherwise, the bits are a second short hash. Bit 7: Linked list end. This bit is set to 1 if there are no more entries in the present bucket. |  | 1 byte |  |  |
|  |  | readHeaderPosition |  | The location of the read header in the file (offset from the start of the file). |  | uint 64 |  |  |
|  |  | dbhIndex |  | This field is only present if dbhPositionsStored is set to ‘1’. This field stores the index of the DBH associated with this read in the DBH list. |  | uint 32 |  |  |
| End of List |  |  |  |  |  |  |  |  |
| blockType |  |  | The type of block. |  | char[4] |  | I |  |
| version |  |  | The version of the index. |  | char [4] |  | 1.00 |  |
| indexSize |  |  | The size of the index |  | uint 64 |  |  |  |

### Hash Function

- The top-7 bits are used as a disamibuation hash instead of duplicating the trace name as a space-saving measure. The hash function implemented is lookup3.c from http://burtleburtle.net/bob/hash/doobs.html. The number of buckets MUST be a power of two. The disambiguation hash is the top 7 bits from the 64-bit lookup3 hash value. Ie:

- hval = hash64(HASH_FUNC_JENKINS3, (unsigned char *)tname, strlen(tname));

- ...

- /* Secondary hash is the top 7-bits */

- hval >>= 57;

- if ((disambig & 0x7f) == hval) {

- /* Potential hit */

- ...